## Instructions-READ BEFORE USING
THC Historic Courthouse Maintenance Handbook
Cyclical Maintenance Tracker
Instructions for Use
To use this Cyclical Maintenance Tracker:
1 | The "Example" tab provides an example of how the tracker should be completed. This tab is password protected and should not be changed. Should a need for unprotecting this sheet occur, the password is "THC1836"
2 | The "Template" tab should never be used to enter maintenance record data. Copy the "Template" tab as described below to record data for each calendar year. For example, each January, create a new tab for that year.
| a. | Right-click the "Template" tab, and select "Move or Copy".
| b. | Select "[move to end]" and check the "Create a Copy" box. Click "OK."
| c. | Right-click the new tab you have created, which may be called "Template (2)." On the dropdown menu, select "Rename."
| d. | With the name of the new tab highlighted, type in the date of the current year.
| e. | Repeat these steps each January. Do not delete tabs or write over the data of previous years to maintain previous maintenance records.
| f. | Change the dates in red at the top of the sheet to the current calendar year.
| g. | Change the dates in the 2 and 5 year maintenance intervals in red to show the year the maintenance was last completed.
3 | Blank boxes should be filled in with the date of completion when tasks are complete.
4 | The "Notes" fields at the right hand side of the sheet may be used to enter information about the maintenance. Also see Checklist as applicable to note information about costs, budgets, work details, etc.
5 | If using Microsoft Excel, the Cyclical Maintenance Tracker may be adjusted to fit the needs of your building. Additional rows may be added as necessary. Rows not needed can be deleted.

## Example
THC Historic Courthouse Maintenance Handbook
THC Historic Courthouse Maintenance Handbook
Cyclical Maintenance Tracker
Date Range: January 2019 - December 2019 |  |  | JANUARY |  |  |  |  | FEBRUARY |  |  |  | MARCH |  |  |  | APRIL |  |  |  | MAY |  |  |  |  | JUNE |  |  |  | JULY |  |  |  | AUGUST |  |  |  |  | SEPTEMBER |  |  |  | OCTOBER |  |  |  | NOVEMBER |  |  |  |  | DECEMBER
|  | INSTRUCTIONS: Blank boxes should be filled in with the DATE OF COMPLETION when tasks are complete. The "Notes" fields at the right hand side of the sheet may be used to enter information about the maintenance. Also see Checklist as applicable to note information about costs, budgets, work details, etc. If using Microsoft Excel, the Cyclical Maintenance Tracker may be adjusted to fit the needs of your building. Additional rows may be added as necessary. Rows not needed can be deleted. | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8 | Week 9 | Week 10 | Week 11 | Week 12 | Week 13 | Week 14 | Week 15 | Week 16 | Week 17 | Week 18 | Week 19 | Week 20 | Week 21 | Week 22 | Week 23 | Week 24 | Week 25 | Week 26 | Week 27 | Week 28 | Week 29 | Week 30 | Week 31 | Week 32 | Week 33 | Week 34 | Week 35 | Week 36 | Week 37 | Week 38 | Week 39 | Week 40 | Week 41 | Week 42 | Week 43 | Week 44 | Week 45 | Week 46 | Week 47 | Week 48 | Week 49 | Week 50 | Week 51 | Week 52 | Notes (enter notes regarding costs, budget, parts model number, etc. Also see applicable checklist.)
After Each Heavy Rain |  | enter date of each heavy rain | FEBRUARY Week 7: 2019-02-10; MARCH Week 10: 2019-03-04; MAY Week 19: 2019-05-10; OCTOBER Week 40: 2019-10-05; DECEMBER Week 49: 2019-12-03
|  | enter weather conditions in this line (i.e., 1/2" rain, hail); note conditions observed in each line below (i.e., ponding) | FEBRUARY Week 7: 1/2" rain; MARCH Week 10: HAIL; MAY Week 19: 1-1/2" rain; OCTOBER Week 40: HAIL; DECEMBER Week 49: 2" rain
Exterior | Site | check drainage of site for ponding and building for water infiltration | FEBRUARY Week 7: ponding; MAY Week 19: ponding
| Roof | check roof for tree limbs, debris, roof damage, and water infiltration | FEBRUARY Week 7: leaks; MARCH Week 10: damage; MAY Week 19: leaks; DECEMBER Week 49: no leaks
|  | check roof drains, gutters, and downspouts for debris, clogs, and trapped water | FEBRUARY Week 7: blocked; MARCH Week 10: blocked; MAY Week 19: overflowed
| Attic | check windows & louvers for hail damage and leaks | FEBRUARY Week 7: leaks; MARCH Week 10: damage; MAY Week 19: leaks; DECEMBER Week 49: no leaks
| Windows | check for leaks, broken glass, glazing putty, sash operation, wood condition | FEBRUARY Week 7: leaks; MARCH Week 10: light damage; MAY Week 19: leaks; OCTOBER Week 40: broken glass, 18 windows
Systems | MPE | check all exterior equipment, piping, insulation, and power supply for hail damage | MARCH Week 10: damage to equip. housing; MAY Week 19: wet insulation; OCTOBER Week 40: no damage
Weekly
Systems | HVAC | Confirm & record HVAC equipment performance as recommended by manufacturers per O&M manuals (this could include chiller, cooling tower, condensers, re-heat coils, circulating pumps, air-handlers - and need not be limited to chiller only) | JANUARY Week 1: 2019-01-06; JANUARY Week 2: 2019-01-13; JANUARY Week 3: 2019-01-20; JANUARY Week 4: 2019-01-27; JANUARY Week 5: 2019-02-05; FEBRUARY Week 6: 2019-02-12; FEBRUARY Week 7: 2019-02-19; FEBRUARY Week 8: 2019-02-16; FEBRUARY Week 9: 2019-03-03; MARCH Week 10: 2019-03-10; MARCH Week 11: 2019-03-17; MARCH Week 12: 2019-03-24; MARCH Week 13: 2019-03-31; APRIL Week 14: 2019-04-04; APRIL Week 15: 2019-04-11; APRIL Week 16: 2019-04-18
Monthly
Systems | HVAC | perform inspection and maintenance per O & M manuals | JANUARY Week 2: 2019-01-12; FEBRUARY Week 7: 2019-02-12; MARCH Week 11: 2019-03-12; APRIL Week 15: 2019-04-12; MAY Week 19: 2019-05-12
inspect cooling towers, clean and adjust as needed per Handbook
inspect air handling unit filters and condensate pan
check chiller operating control panels
confirm that testing and adjusting water system chemistry of water cooled chillers is performed by service contractor
| Electrical | operate generators (also known as "exercising" generators, or test-run) | JANUARY Week 1: 2019-01-05; FEBRUARY Week 6: 2019-02-05; MARCH Week 10: 2019-03-05; APRIL Week 14: 2019-04-05; MAY Week 18: 2019-05-05; JUNE Week 23: 2019-06-05; AUGUST Week 35: 2019-09-05; NOVEMBER Week 48: 2019-12-05
Quarterly
Systems | HVAC | perform inspection and maintenance per O & M manuals
|  | inspect pumps, pump motors, and seals | JANUARY Week 2: 2019-01-08; APRIL Week 15: 2019-04-08
inspect fans and belts
|  | change air handling unit filters | [52 empty] | Air filter
change split direct expansion A/C unit filters
| Electrical | test fire alarm system
Exterior | Roof | complete Roof Drains, Gutters, and Downspouts Checklist | JANUARY Week 3: 2019-01-15; APRIL Week 16: 2019-04-15
Semi-Annually
Systems | HVAC | perform inspection and maintenance per O & M manuals | JANUARY Week 4: 2019-01-25; APRIL Week 17: 2019-04-25
inspect condenser coils on air cooled chillers
inspect and test pumps per Handbook
Yearly
Exterior | Site | complete Hardscape, Stairs, and Ramps Checklist | FEBRUARY Week 7: 2019-02-14
|  | complete Landscape and Irrigation Checklist | FEBRUARY Week 7: 2019-02-16
|  | complete Drainage Checklist | FEBRUARY Week 8: 2019-02-20
complete Art, Monuments, and Other Site Elements Checklist
| Roof | complete Built-up/Membrane Roofing Checklist | MARCH Week 11: 2019-03-15
Systems | HVAC | perform inspection and maintenance per O & M manuals
confirm annual maintenance of chillers is conducted by service contractor (recommended)
clean chillers and condenser tube bundles
clean evaporator tube bundles (as required by chiller performance)
clean and test cooling towers per Handbook
operate cooling tower isolation control valves
test cooling tower basin heat system (in Fall before heating season)
confirm annual maintenance of boiler is conducted by service contractor (in Fall prior to heating season) (recommended)
inspect and test boiler per Handbook
confirm annual maintenance of direct expansion A/C units is conducted by service contractor (recommended)
inspect and clean split direct expansion A/C units per Handbook
inspect and clean air handling units per Handbook
inspect, test, clean, and repair fans per Handbook
inspect air handling unit, exhaust, and ventilation belt drive fans and tighten
verify that dampers fully open and close
| Electrical | confirm annual maintenance of switchboards and motor control center is conducted by service contractor (recommended; see Handbook for tasks) | MARCH Week 13: 2019-03-30
confirm annual maintenance of generators and automatic transfer switches is conducted by service contractor (recommended; see Handbook for tasks)
confirm annual maintenance of variable frequency drives is conducted by service contractor (recommended; see Handbook for tasks)
confirm annual maintenance of exterior lighting fixtures is conducted by service contractor (recommended; see Handbook for tasks)
|  | confirm annual maintenance of fire alarm and voice evacuation system is conducted by service contractor (recommended; see Handbook for tasks) | APRIL Week 17: 2019-04-22
| Plumbing | inspect and maintain plumbing fixtures (see Handbook)
Every 2 Years
|  |  | 2021 | 2023 | 2025 | 2027
Systems | HVAC | perform inspection and maintenance per O & M manuals
| Plumbing | inspect and maintain domestic hot water system per O & M manual (also see Handbook)
Every 5 Years
|  |  | 2024 | 2029 | 2034 | 2039
Exterior | Roof | complete Slate Roofing Checklist
complete Metal Shingle and Sheet Roofing Checklist
complete Clay Tile Roofing Checklist
| Exterior Envelope | complete Brick Checklist
complete Stone and Cast Stone Checklist
complete Terra Cotta Checklist
complete Stucco Checklist
complete Wood Windows Checklist
complete Steel Windows Checklist
complete Leaded and Stained Glass Checklist
complete Exterior Doors, Grilles, and Screens Checklist
| HVAC | perform inspection and maintenance per O & M manuals
Systems | Electrical | confirm maintenance of panel boards and disconnect switches is conducted by service contractor (recommended; see Handbook for tasks)
confirm maintenance of transformers is conducted by service contractor (recommended; see Handbook for tasks)

## Template
THC Historic Courthouse Maintenance Handbook
THC Historic Courthouse Maintenance Handbook
Cyclical Maintenance Tracker
Date Range: January 2019 - December 2019 |  |  | JANUARY |  |  |  |  | FEBRUARY |  |  |  | MARCH |  |  |  | APRIL |  |  |  | MAY |  |  |  |  | JUNE |  |  |  | JULY |  |  |  | AUGUST |  |  |  |  | SEPTEMBER |  |  |  | OCTOBER |  |  |  | NOVEMBER |  |  |  |  | DECEMBER
|  | INSTRUCTIONS: Blank boxes should be filled in with the DATE OF COMPLETION when tasks are complete. The "Notes" fields at the right hand side of the sheet may be used to enter information about the maintenance. Also see Checklist as applicable to note information about costs, budgets, work details, etc. If using Microsoft Excel, the Cyclical Maintenance Tracker may be adjusted to fit the needs of your building. Additional rows may be added as necessary. Rows not needed can be deleted. | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8 | Week 9 | Week 10 | Week 11 | Week 12 | Week 13 | Week 14 | Week 15 | Week 16 | Week 17 | Week 18 | Week 19 | Week 20 | Week 21 | Week 22 | Week 23 | Week 24 | Week 25 | Week 26 | Week 27 | Week 28 | Week 29 | Week 30 | Week 31 | Week 32 | Week 33 | Week 34 | Week 35 | Week 36 | Week 37 | Week 38 | Week 39 | Week 40 | Week 41 | Week 42 | Week 43 | Week 44 | Week 45 | Week 46 | Week 47 | Week 48 | Week 49 | Week 50 | Week 51 | Week 52 | Notes (enter notes regarding costs, budget, parts model number, etc. Also see applicable checklist.)
After Each Heavy Rain |  | enter date of each heavy rain
enter weather conditions in this line (i.e., 1/2" rain, hail); note conditions observed in each line below (i.e., ponding)
Exterior | Site | check drainage of site for ponding and building for water infiltration
| Roof | check roof for tree limbs, debris, roof damage, and water infiltration
check roof drains, gutters, and downspouts for debris, clogs, and trapped water
| Attic | check windows & louvers for hail damage and leaks
| Windows | check for leaks, broken glass, glazing putty, sash operation, wood condition
Systems | MPE | check all exterior equipment, piping, insulation, and power supply for hail damage
Weekly
Systems | HVAC | Confirm & record HVAC equipment performance as recommended by manufacturers per O&M manuals (this could include chiller, cooling tower, condensers, re-heat coils, circulating pumps, air-handlers - and need not be limited to chiller only)
Monthly
Systems | HVAC | perform inspection and maintenance per O & M manuals
inspect cooling towers, clean and adjust as needed per Handbook
inspect air handling unit filters and condensate pan
check chiller operating control panels
confirm that testing and adjusting water system chemistry of water cooled chillers is performed by service contractor
| Electrical | operate generators (also known as "exercising" generators, or test-run)
Quarterly
Systems | HVAC | perform inspection and maintenance per O & M manuals
inspect pumps, pump motors, and seals
inspect fans and belts
change air handling unit filters
change split direct expansion A/C unit filters
| Electrical | test fire alarm system
Exterior | Roof | complete Roof Drains, Gutters, and Downspouts Checklist
Semi-Annually
Systems | HVAC | perform inspection and maintenance per O & M manuals
inspect condenser coils on air cooled chillers
inspect and test pumps per Handbook
Yearly
Exterior | Site | complete Hardscape, Stairs, and Ramps Checklist
complete Landscape and Irrigation Checklist
complete Drainage Checklist
complete Art, Monuments, and Other Site Elements Checklist
| Roof | complete Built-up/Membrane Roofing Checklist
Systems | HVAC | perform inspection and maintenance per O & M manuals
confirm annual maintenance of chillers is conducted by service contractor (recommended)
clean chillers and condenser tube bundles
clean evaporator tube bundles (as required by chiller performance)
clean and test cooling towers per Handbook
operate cooling tower isolation control valves
test cooling tower basin heat system (in Fall before heating season)
confirm annual maintenance of boiler is conducted by service contractor (in Fall prior to heating season) (recommended)
inspect and test boiler per Handbook
confirm annual maintenance of direct expansion A/C units is conducted by service contractor (recommended)
inspect and clean split direct expansion A/C units per Handbook
inspect and clean air handling units per Handbook
inspect, test, clean, and repair fans per Handbook
inspect air handling unit, exhaust, and ventilation belt drive fans and tighten
verify that dampers fully open and close
| Electrical | confirm annual maintenance of switchboards and motor control center is conducted by service contractor (recommended; see Handbook for tasks)
confirm annual maintenance of generators and automatic transfer switches is conducted by service contractor (recommended; see Handbook for tasks)
confirm annual maintenance of variable frequency drives is conducted by service contractor (recommended; see Handbook for tasks)
confirm annual maintenance of exterior lighting fixtures is conducted by service contractor (recommended; see Handbook for tasks)
confirm annual maintenance of fire alarm and voice evacuation system is conducted by service contractor (recommended; see Handbook for tasks)
| Plumbing | inspect and maintain plumbing fixtures (see Handbook)
Every 2 Years
|  |  | 2021 | 2023 | 2025 | 2027
Systems | HVAC | perform inspection and maintenance per O & M manuals
| Plumbing | inspect and maintain domestic hot water system per O & M manual (also see Handbook)
Every 5 Years
|  |  | 2024 | 2029 | 2034 | 2039
Exterior | Roof | complete Slate Roofing Checklist
complete Metal Shingle and Sheet Roofing Checklist
complete Clay Tile Roofing Checklist
| Exterior Envelope | complete Brick Checklist
complete Stone and Cast Stone Checklist
complete Terra Cotta Checklist
complete Stucco Checklist
complete Wood Windows Checklist
complete Steel Windows Checklist
complete Leaded and Stained Glass Checklist
complete Exterior Doors, Grilles, and Screens Checklist
| HVAC | perform inspection and maintenance per O & M manuals
Systems | Electrical | confirm maintenance of panel boards and disconnect switches is conducted by service contractor (recommended; see Handbook for tasks)
confirm maintenance of transformers is conducted by service contractor (recommended; see Handbook for tasks)